## Responsivity
S171C Responsivity
|  | Wavelength (nm) | Responsivity (A/W)
|  | 400 | 0.079004
|  | 405 | 0.083236
|  | 410 | 0.087469
|  | 415 | 0.091708
Product Raw Data |  | 420 | 0.095968
Microscope Slide Power Sensor, 400 - 1100 nm, 1 nW - 15 mW |  | 425 | 0.10021
|  | 430 | 0.1042
Item # | S171C | 435 | 0.1078
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 440 | 0.11149
|  | 445 | 0.11575
|  | 450 | 0.12041
|  | 455 | 0.1251
|  | 460 | 0.12929
|  | 465 | 0.13251
This data may be used in publications. However, please cite Thorlabs as the source. |  | 470 | 0.13478
|  | 475 | 0.13627
|  | 480 | 0.13729
Additional Information: |  | 485 | 0.13813
|  | 490 | 0.13898
|  | 495 | 0.13997
|  | 500 | 0.14117
|  | 505 | 0.14261
|  | 510 | 0.14435
|  | 515 | 0.14644
|  | 520 | 0.14885
|  | 525 | 0.15153
|  | 530 | 0.15434
|  | 535 | 0.15714
|  | 540 | 0.1597
|  | 545 | 0.16183
|  | 550 | 0.1634
|  | 555 | 0.16434
|  | 560 | 0.16467
|  | 565 | 0.16446
|  | 570 | 0.16389
|  | 575 | 0.16318
|  | 580 | 0.16259
|  | 585 | 0.16237
|  | 590 | 0.1627
|  | 595 | 0.1637
|  | 600 | 0.16526
|  | 605 | 0.16719
|  | 610 | 0.16931
|  | 615 | 0.1714
|  | 620 | 0.17329
|  | 625 | 0.17483
|  | 630 | 0.17602
|  | 635 | 0.17692
|  | 640 | 0.17771
|  | 645 | 0.17863
|  | 650 | 0.17993
|  | 655 | 0.18186
|  | 660 | 0.1846
|  | 665 | 0.18831
|  | 670 | 0.19304
|  | 675 | 0.19876
|  | 680 | 0.20518
|  | 685 | 0.21193
|  | 690 | 0.21856
|  | 695 | 0.22467
|  | 700 | 0.23004
|  | 705 | 0.23456
|  | 710 | 0.23827
|  | 715 | 0.24123
|  | 720 | 0.24358
|  | 725 | 0.24544
|  | 730 | 0.2469
|  | 735 | 0.24806
|  | 740 | 0.24898
|  | 745 | 0.24972
|  | 750 | 0.25029
|  | 755 | 0.25072
|  | 760 | 0.25104
|  | 765 | 0.25125
|  | 770 | 0.25139
|  | 775 | 0.25145
|  | 780 | 0.25145
|  | 785 | 0.25139
|  | 790 | 0.25128
|  | 795 | 0.25112
|  | 800 | 0.25093
|  | 805 | 0.25073
|  | 810 | 0.25052
|  | 815 | 0.25029
|  | 820 | 0.25003
|  | 825 | 0.24975
|  | 830 | 0.24945
|  | 835 | 0.24913
|  | 840 | 0.24882
|  | 845 | 0.2485
|  | 850 | 0.24819
|  | 855 | 0.24788
|  | 860 | 0.24757
|  | 865 | 0.24726
|  | 870 | 0.24694
|  | 875 | 0.2466
|  | 880 | 0.24624
|  | 885 | 0.24588
|  | 890 | 0.24552
|  | 895 | 0.24515
|  | 900 | 0.24479
|  | 905 | 0.24445
|  | 910 | 0.24412
|  | 915 | 0.24376
|  | 920 | 0.2434
|  | 925 | 0.24303
|  | 930 | 0.24263
|  | 935 | 0.24213
|  | 940 | 0.2415
|  | 945 | 0.24073
|  | 950 | 0.23979
|  | 955 | 0.23866
|  | 960 | 0.23726
|  | 965 | 0.23552
|  | 970 | 0.23334
|  | 975 | 0.23062
|  | 980 | 0.22728
|  | 985 | 0.22323
|  | 990 | 0.21839
|  | 995 | 0.2127
|  | 1000 | 0.20612
|  | 1005 | 0.19857
|  | 1010 | 0.18998
|  | 1015 | 0.18031
|  | 1020 | 0.16964
|  | 1025 | 0.15812
|  | 1030 | 0.14593
|  | 1035 | 0.13326
|  | 1040 | 0.12036
|  | 1045 | 0.10747
|  | 1050 | 0.094882
|  | 1055 | 0.082953
|  | 1060 | 0.072142
|  | 1065 | 0.062841
|  | 1070 | 0.055022
|  | 1075 | 0.048518
|  | 1080 | 0.043015
|  | 1085 | 0.038198
|  | 1090 | 0.033874
|  | 1095 | 0.029881
|  | 1100 | 0.026056